|  |
| --- |
| STANDARD OPERATING PROCEDURE |
|

|  |
| --- |
| **Title: Reproducible detection of endogenous analytes** |
|  |  |
| **Version #: 2** | **Author: PNNL Lab** |
| **Date: 09/01/2015** |  |

 |

# Purpose

The purpose of this document is to describe the characterization of a set of assays to assess the overall reproducibility and the ability of the assays to detect the endogenous analytes using heavy peptides as standards.

# Scope

This procedure covers overall preparation and running of samples for generating the samples with regards to CPTAC Assay Characterization Guidance experiment #5.

# Responsibilities

It is the responsibility of person(s) performing this procedure to be familiar with laboratory safety procedures. The interpretation of results must be done by a person trained in the procedure and familiar with such interpretation.

# Equipment

Microcentrifuge

Eppendoff Thermomixer

# Materials

Waters glass vial

# Solutions

Mobile phase A: 0.1% FA in H2O

Mobile phase B: 0.1% FA in ACN

# Reagents

Water, HPLC grade (H2O)

Acetonitrile, HPLC grade (ACN) (Fisher Scientific, A955-4)

Formic Acid (0.1%)/Acetonitrile (EMD, FX0437P-1)

Formic Acid (FA) (Agilent Technologies, G2453-85060)

**Peptide Standards:**

Both pure heavy stable isotope-labeled peptides and sequence matched pure light versions were synthesized. Heavy peptides incorporated a fully atom labeled 13C and 15N isotope at the C-terminal lysine (K) or arginine (R) position of each (tryptic) peptide, resulting in a mass shift of +8 or +10 Da, respectively. Those pure peptides were purified to >95% purity by HPLC from the vendor. They were quantified by amino acid analysis and aliquots were stored in 5% acetonitrile/0.1% formic acid at -80°C until use. Pure light peptides are spiked in as internal standards (IS). The stock of light internal standard was stored in -80 ºC freezer. Pure heavy peptides were mixed together at three different concentrations, including low, median, and high and further stored in -80 ºC until use.

**Matrix:**

Portions of the same ovarian tumor tissue sample were digested five times on each of the five days. Digested samples were diluted with buffer A (0.1% FA) to a concentration of 0.1 ug/ul. Tissue samples were processed as described in SOP TP-1 (Tissue sample Preparation). Digestion was performed according to SOP TD-1 (Trypsin Digestion of tissue sample). The tissue digest was aliquoted and stored in -80 for the experiment.

# Procedure:

**Preparation of Samples for LC-MRM**

1. 2 ul of of heavy peptides mix is added to 38 ul of five digested tissue matrices without spiking light peptide IS mix.
2. Analyze five digested samples each day. (See SOP LC-1 for Liquid Chromatography and SOP PM-1 for Peptide MRM on TSQ Vantage).

# Referenced Documents

SOP TD-1 for Trypsin Digestion of tissue sample.pdf

SOP TP-1 for Tissue Sample Preparation.pdf

SOP LC-1 for Liquid Chromatography.pdf
SOP PM-1 for Peptide MRM on TSQ Vantage.pdf