## Table 2
Targeted Proteins & Peptidesa |  |  |  |  | Internal Standard Mixturec |  |  | Scheduled PRM-MSf | [6 empty] | Methodological Precision & Accuracy
[11 empty] | Tryptic Peptides |  | Stable Isotope Labeled Peptides
Protein name | UniProtKB accession | Peptide | Positionb | Sequence | Manufacturer | Sequenced | Concentration, nMe | Precursor charge, z | Isolation time window, ming | Normalized Collision Energy, % | Mono-isotopic, m/z | Isolation, m/zh | Mono-isotopic, m/z | Isolation, m/zh | Ionsi | Repeatabilityj | Intermediate Precisionj | Linear Range, nMk | [CSF], nMl
AP-2 complex subunit beta | P63010 | AP2B1_712-719 | 712-719 | AVWLPAVK | JPT Peptide Technologies GmbH | AVWLPAV[K] | 1.1 | 2 | 29.2-31.2 | 22 | 442.2736 | 443.2736 | 446.2807 | 447.2807 | y4,y6 | 9.3% | 10.2% | 0.07-2.3 | 0.20903
|  | AP2B1_835-842 | 835-842 | QVFLATWK | JPT Peptide Technologies GmbH | QVFLATW[K] | 1.1 | 2 | 29.8-31.8 | 20 | 496.7818 | 497.7818 | 500.7889 | 501.7889 | y3,y4,y6 | 16.1% | 20.6% | 0.07-2.3 | 0.22508
|  | AP2B1_868-878 | 868-878 | LQNNNVYTIAK | JPT Peptide Technologies GmbH | LQNNNVYTIA[K] | 0.76 | 2 | 17.3-19.3 | 24 | 639.3461 | 640.3461 | 643.3532 | 644.3532 | y4,y5,y9 | 22.1% | 22.1% | 0.1-1.5 | 0.20277
Amyloid beta A4 protein | P05067 | APP_289-301 | 289-301 | EVCSEQAETGPCR | JPT Peptide Technologies GmbH | EVcSEQAETGPc[R] | 6.9 | 2 | 14.1-16.1 | 24 | 761.8167 | 762.8167 | 766.8208 | 767.8208 | y3-y11 | 3% | 7% | 0.9-14 | 1.7411
|  | APP_439-450 | 439-450 | VESLEQEAANER | JPT Peptide Technologies GmbH | VESLEQEAANE[R] | 7.8 | 2 | 16.3-18.3 | 24 | 687.8284 | 688.8284 | 692.8326 | 693.8326 | y7-y10 | 7.4% | 17.2% | 0.5-16 | 2.4259
Bovine serum albumin | P02769 | BSA full length |  |  | Sigma-Aldrich Co. | BSA full length - non-labeled | 330
|  | BSA_421-433 | 421-433 | LGEYGFQNALIVR | Thermo Fisher Scientific Inc. | LGEYGFQNALIV[R] | 760 | 2 | 33.9-35.9 | 24 | 740.4014 | 741.4014 | 745.4055 | 746.4055 | y3-y12 | 10.5% | 10.9% | 24-1500 | 200.5179
Complement component C9 | P02748 | C9_146-154 | 146-154 | VVEESELAR | Thermo Fisher Scientific Inc. | VVEESELA[R] | 12 | 2 | 15.7-17.7 | 18 | 516.272 | 517.272 | 521.2762 | 522.2762 | y5-y7 | 5.9% | 7.5% | 0.4-23 | 4.3375
|  | C9_186-194 | 186-194 | DGNTLTYYR | Thermo Fisher Scientific Inc. | DGNTLTYY[R] | 18 | 2 | 17.4-19.4 | 22 | 551.7618 | 552.7618 | 556.766 | 557.766 | y3-y5 | 6% | 12.2% | 1.1-36 | 2.3649
|  | C9_232-242 | 232-242 | TSNFNAAISLK | Thermo Fisher Scientific Inc. | TSNFNAAISL[K] | 6.8 | 2 | 22.5-24.5 | 20 | 583.3142 | 584.3142 | 587.3213 | 588.3213 | y5-y8 | 10.3% | 10.3% | 0.2-14 | 4.1909
|  | C9_473-483 | 473-483 | LSPIYNLVPVK | Thermo Fisher Scientific Inc. | LSPIYNLVPV[K] | 9.6 | 2 | 36.4-38.4 | 24 | 621.8765 | 622.8765 | 625.8836 | 626.8836 | y4,y6-y8 | 12% | 13.5% | 0.3-19 | 5.7501
|  | C9_497-508 | 497-508 | AIEDYINEFSVR | Thermo Fisher Scientific Inc. | AIEDYINEFSV[R] | 6.3 | 2 | 34.5-36.5 | 22 | 728.3594 | 729.3594 | 733.3635 | 734.3635 | y6-y10 | 11.2% | 14% | 0.4-13 | 6.2447
Cathepsin B | P07858 | CTSB_58-71 | 58-71 | LCGTFLGGPKPPQR | JPT Peptide Technologies GmbH | LcGTFLGGPKPPQ[R] | 12.4 | 3 | 19.5-21.5 | 30 | 509.9415 | 510.9415 | 513.2776 | 514.2776 | y7-y9 | 9.5% | 16.2% | 0.8-25 | 2.6914
|  | CTSB_80-87 | 80-87 | LPASFDAR | JPT Peptide Technologies GmbH | LPASFDA[R] | 3.3 | 2 | 17.9-19.9 | 24 | 438.7323 | 439.7323 | 443.7365 | 444.7365 | y5-y7 | 7.8% | 23.8% | 0.1-6.7 | 0.6642
|  | CTSB_210-220 | 210-220 | ICEPGYSPTYK | JPT Peptide Technologies GmbH | IcEPGYSPTY[K] | 3.3 | 2 | 16.3-18.3 | 28 | 657.8054 | 658.8054 | 661.8125 | 662.8125 | y4,y8 | 6.2% | 9.5% | 0.2-6.7 | 0.58291
Cathepsin D | P07339 | CTSD_55-72 | 55-72 | YSQAVPAVTEGPIPEVLK | JPT Peptide Technologies GmbH | YSQAVPAVTEGPIPEVL[K] | 4.8 | 2 | 34.2-36.2 | 26 | 949.5171 | 950.5171 | 953.5242 | 954.5242 | y5,y7,y8 | 10.6% | 13.6% | 0.3-9.5 | 0.95449
|  | CTSD_112-122 | 112-122 | LLDIACWIHHK | JPT Peptide Technologies GmbH | LLDIAcWIHH[K] | 15 | 3 | 33.6-35.6 | 26 | 469.2518 | 470.2518 | 471.9232 | 472.9232 | y3,y5-y7 | 13.4% | 15.7% | 0.9-30 | 3.4257
|  | CTSD_349-357 | 349-357 | LSPEDYTLK | JPT Peptide Technologies GmbH | LSPEDYTL[K] | 11 | 2 | 19.8-21.8 | 28 | 533.2768 | 534.2768 | 537.2839 | 538.2839 | y3,y4,y6,y7 | 6.6% | 7.8% | 1.4-23 | 2.3166
Cathepsin F | Q9UBX1 | CTSF_103-116 | 103-116 | TLLCSFQVLDELGR | JPT Peptide Technologies GmbH | TLLcSFQVLDELG[R] | 3.8 | 2 | 48.1-50.1 | 26 | 825.9296 | 826.9296 | 830.9338 | 831.9338 | y4-y8,y11 | 8.8% | 11.2% | 0.2-7.6 | 0.36088
|  | CTSF_236-245 | 236-245 | FSDLTEEEFR | JPT Peptide Technologies GmbH | FSDLTEEEF[R] | 0.86 | 2 | 22.2-24.2 | 20 | 636.7908 | 637.7908 | 641.7949 | 642.7949 | y5,y6,y8,y9 | 6.2% | 8.1% | 0.1-1.7 | 0.15585
|  | CTSF_266-278 | 266-278 | SVGDLAPPEWDWR | JPT Peptide Technologies GmbH | SVGDLAPPEWDW[R] | 0.67 | 2 | 36.1-38.1 | 24 | 764.365 | 765.365 | 769.3691 | 770.3691 | y7,y8 | 10.4% | 12.5% | 0.04-1.3 | 0.14842
|  | CTSF_442-450 | 442-450 | SDVPFWAIK | JPT Peptide Technologies GmbH | SDVPFWAI[K] | 1.4 | 2 | 35.2-37.2 | 26 | 531.7846 | 532.7846 | 535.7917 | 536.7917 | y4-y6 | 7.8% | 8.2% | 0.2-2.9 | 0.28541
Cathepsin L1 | P07711 | CTSL_105-116 | 105-116 | VFQEPLFYEAPR | JPT Peptide Technologies GmbH | VFQEPLFYEAP[R] | 1.4 | 2 | 32.4-34.4 | 28 | 748.3826 | 749.3826 | 753.3868 | 754.3868 | y4,y6,y8-y10 | 9% | 11.6% | 0.09-2.9 | 0.331
Cathepsin Z | Q9UBR2 | CTSZ_39-47 | 39-47 | GDGLAPLGR | JPT Peptide Technologies GmbH | GDGLAPLG[R] | 2.4 | 2 | 18.9-20.9 | 22 | 428.2378 | 429.2378 | 433.2419 | 434.2419 | y4,y5 | 7.1% | 7.2% | 0.3-4.8 | 0.54262
|  | CTSZ_261-270 | 261-270 | NSWGEPWGER | JPT Peptide Technologies GmbH | NSWGEPWGE[R] | 2.4 | 2 | 22.9-24.9 | 22 | 609.2703 | 610.2703 | 614.2745 | 615.2745 | y5,y7,y8 | 6.2% | 10.1% | 0.3-4.8 | 0.49172
Dipeptidyl peptidase 2 | Q9UHL4 | DPP7_40-47 | 40-47 | LDHFNFER | JPT Peptide Technologies GmbH | LDHFNFE[R] | 0.67 | 3 | 19.1-21.1 | 24 | 359.8419 | 360.8419 | 363.178 | 364.178 | y3-y5 | 18.1% | 18.5% | 0.3-1.3 | 0.13179
|  | DPP7_113-123 | 113-123 | SLPFGAQSTQR | JPT Peptide Technologies GmbH | SLPFGAQSTQ[R] | 0.95 | 2 | 19.5-21.5 | 28 | 596.3095 | 597.3095 | 601.3136 | 602.3136 | y5,y9 | 21.6% | 23.9% | 0.1-1.9 | 0.24674
|  | DPP7_449-462 | 449-462 | ASHPEDPASVVEAR | JPT Peptide Technologies GmbH | ASHPEDPASVVEA[R] | 1.4 | 3 | 16.1-18.1 | 24 | 488.9074 | 489.9074 | 492.2435 | 493.2435 | y3,y6 | 13.3% | 15.2% | 0.2-2.8 | 0.16284
Ganglioside GM2 activator | P17900 | GM2A_89-96 | 89-96 | EVAGLWIK | JPT Peptide Technologies GmbH | EVAGLWI[K] | 18 | 2 | 29.4-31.4 | 18 | 458.2686 | 459.2686 | 462.2757 | 463.2757 | y3-y6 | 4.8% | 11.1% | 1.1-35 | 3.7261
|  | GM2A_170-179 | 170-179 | IESVLSSSGK | JPT Peptide Technologies GmbH | IESVLSSSG[K] | 9.6 | 2 | 16.9-18.9 | 26 | 503.7744 | 504.7744 | 507.7815 | 508.7815 | y5,y8,y9 | 10.8% | 12.2% | 0.3-19 | 2.5593
Beta-hexosaminidase subunit beta | P07686 | HEXB_285-300 | 285-300 | VLPEFDTPGHTLSWGK | JPT Peptide Technologies GmbH | VLPEFDTPGHTLSWG[K] | 0.95 | 3 | 30.3-32.3 | 28 | 595.3053 | 596.3053 | 597.9767 | 598.9767 | y4,y6,y9 | 19.3% | 24.3% | 0.06-1.9 | 0.30269
|  | HEXB_391-400 | 391-400 | VLDIIATINK | JPT Peptide Technologies GmbH | VLDIIATIN[K] | 3.8 | 2 | 33.7-35.7 | 20 | 550.3397 | 551.3397 | 554.3468 | 555.3468 | y4,y6,y8 | 20.2% | 21.3% | 0.5-7.6 | 0.83533
Lysosome-associated membrane glycoprotein 1 | P11279 | LAMP1_138-146 | 138-146 | TVESITDIR | JPT Peptide Technologies GmbH | TVESITDI[R] | 2.9 | 2 | 19.5-21.5 | 20 | 517.2798 | 518.2798 | 522.284 | 523.284 | y4,y6,y7 | 4.5% | 8.6% | 0.09-5.8 | 0.76569
|  | LAMP1_327-337 | 327-337 | ALQATVGNSYK | JPT Peptide Technologies GmbH | ALQATVGNSY[K] | 0.95 | 2 | 15.8-17.8 | 24 | 576.3064 | 577.3064 | 580.3135 | 581.3135 | y5,y8 | 21.4% | 23.8% | 0.06-1.9 | 0.23089
|  | LAMP1_357-363 | 357-363 | VWVQAFK | JPT Peptide Technologies GmbH | VWVQAF[K] | 0.76 | 2 | 24.5-26.5 | 26 | 439.2502 | 440.2502 | 443.2573 | 444.2573 | y3-y5 | 8.3% | 17.8% | 0.1-1.5 | 0.15153
Lysosome-associated membrane glycoprotein 2 | P13473 | LAMP2_133-144 | 133-144 | GILTVDELLAIR | Thermo Fisher Scientific Inc. | GILTVDELLAI[R] | 15 | 2 | 50.1-52.1 | 26 | 656.8954 | 657.8954 | 661.8995 | 662.8995 | y3-y10 | 9% | 31.1% | 1.0-31 | 7.1677
|  | LAMP2_145-152 | 145-152 | IPLNDLFR | JPT Peptide Technologies GmbH | IPLNDLF[R] | 19 | 2 | 35.8-37.8 | 28 | 494.2847 | 495.2847 | 499.2889 | 500.2889 | y3-y7 | 10.1% | 13.6% | 1.2-37 | 4.4215
|  | LAMP2_153-161 | 153-161 | CNSLSTLEK | Thermo Fisher Scientific Inc. | cNSLSTLE[K] | 1100 | 2 | 17.4-19.4 | 22 | 526.2581 | 527.2581 | 530.2652 | 531.2652 | y6,y8 | 12.4% | 12.9% | 140-2300 | 11.3221
|  | LAMP2_281-289 | 281-289 | YLDFVFAVK | JPT Peptide Technologies GmbH | YLDFVFAV[K] | 24 | 2 | 43.0-45.0 | 22 | 551.3026 | 552.3026 | 555.3097 | 556.3097 | y4-y8 | 15.5% | 23.6% | 0.8-49 | 4.6783
Lysozyme C | P61626 | LYZ_52-59 | 52-59 | WESGYNTR | JPT Peptide Technologies GmbH | WESGYNT[R] | 10.4 | 2 | 15.3-17.3 | 22 | 506.7278 | 507.7278 | 511.7319 | 512.7319 | y5-y7 | 8.4% | 15.7% | 1.3-21 | 2.9068
|  | LYZ_69-80 | 69-80 | STDYGIFQINSR | JPT Peptide Technologies GmbH | STDYGIFQINS[R] | 44 | 2 | 28.8-30.8 | 22 | 700.8439 | 701.8439 | 705.848 | 706.848 | y3-y10 | 11% | 18.7% | 2.8-90 | 7.8671
Tissue alpha-L-fucosidase | P04066 | FUCA1_114-130 | 114-130 | FFHPEEWADLFQAAGAK | JPT Peptide Technologies GmbH | FFHPEEWADLFQAAGA[K] | 14 | 3 | 44.6-46.6 | 20 | 655.3161 | 656.3161 | 657.9875 | 658.9875 | y5-y10 | 9.7% | 16.1% | 0.9-29 | 0.25146
|  | FUCA1_163-173 | 163-173 | DLVGELGTALR | JPT Peptide Technologies GmbH | DLVGELGTAL[R] | 0.57 | 2 | 37.5-39.5 | 18 | 572.322 | 573.322 | 577.3262 | 578.3262 | y5-y9 | 6.5% | 10.4% | 0.04-1.1 | 0.12004
|  | FUCA1_344-354 | 344-354 | DGLIVPIFQER | JPT Peptide Technologies GmbH | DGLIVPIFQE[R] | 0.67 | 2 | 42.5-44.5 | 28 | 643.8588 | 644.8588 | 648.8629 | 649.8629 | y6-y8 | 7% | 18.6% | 0.04-1.3 | 0.15644
Transcobalamin-2 | P20062 | TCN2_45-59 | 45-59 | LSLEHLNPSIYVGLR | JPT Peptide Technologies GmbH | LSLEHLNPSIYVGL[R] | 1.9 | 3 | 35.5-37.5 | 26 | 570.9894 | 571.9894 | 574.3255 | 575.3255 | y4-y9 | 12.6% | 19.2% | 0.1-3.9 | 0.60096
|  | TCN2_300-313 | 300-313 | TYIDLIFPDCLAPR | JPT Peptide Technologies GmbH | TYIDLIFPDcLAP[R] | 2.9 | 2 | 48.3-50.3 | 28 | 847.4345 | 848.4345 | 852.4387 | 853.4387 | y5-y9,y11 | 10.8% | 12.4% | 0.2-5.7 | 0.46572
|  | TCN2_393-399 | 393-399 | EFWQLLR | JPT Peptide Technologies GmbH | EFWQLL[R] | 1.2 | 2 | 40.1-42.1 | 20 | 496.2716 | 497.2716 | 501.2758 | 502.2758 | y4,y5 | 8.1% | 10.5% | 0.04-2.3 | 0.24919
Tripeptidyl-peptidase 1 | O14773 | TPP1_61-78 | 61-78 | LSELVQAVSDPSSPQYGK | JPT Peptide Technologies GmbH | LSELVQAVSDPSSPQYG[K] | 1.4 | 2 | 23.3-25.3 | 24 | 952.9836 | 953.9836 | 956.9907 | 957.9907 | y5,y12,y13 | 20.4% | 23% | 0.09-2.9 | 0.41478
|  | TPP1_246-259 | 246-259 | LFGGNFAHQASVAR | JPT Peptide Technologies GmbH | LFGGNFAHQASVA[R] | 1.4 | 3 | 19.5-21.5 | 28 | 492.2565 | 493.2565 | 495.5926 | 496.5926 | y5,y7 | 17.4% | 19.9% | 0.09-2.9 | 0.32921
|  | TPP1_507-520 | 507-520 | LYQQHGAGLFDVTR | JPT Peptide Technologies GmbH | LYQQHGAGLFDVT[R] | 1.8 | 3 | 23.4-25.4 | 24 | 535.6108 | 536.6108 | 538.9469 | 539.9469 | y3-y5,y9 | 18.2% | 19.6% | 0.1-3.6 | 0.33704
Ubiquitin | P0CG48 | Ubiquitin_12-27 | 12-27 | TITLEVEPSDTIENVK | Silantes GmbH | full length uniformly-13C-labeled | 80 | 2 | 28.7-30.7 | 25 | 894.4673 | 895.4673 | 933.0964 | 934.0964 | y3,y6,y9-y11 | 12.6% | 35% | 10-160 | 29.767
|  | Ubiquitin_64-72 | 64-72 | ESTLHLVLR | Silantes GmbH | full length uniformly-13C-labeled | 80 | 3 | 23.3-25.3 | 25 | 356.5451 | 357.5451 | 372.2643 | 373.2643 | y3-y5 | 15.7% | 37.8% | 2.5-160 | 15.6021
aProteins and peptides identified and targeted in present study.
bAmino acid sequence postion in the full length protein.
cPeptides and proteins aquired and used for making an internal standard mixture for spiking samples.
dPeptides were modifid by C-terminal 13C/15N labeled K or R ([K] or [R]) and C was carbamidomethylated (c).
eConcentration of peptides and proteins in 50mM NH4HCO3 in the internal standard mixture used for spiking samples.
fMethodological information on the PRM-MS method.
gExample of isolation time windows.
hThe m/z at the center of the isolation window to which and isolation width of m/z 3 was applied.
iProduct ions selected for quantification in Skyline.
jCV calculated from eight technical replicate QC samples analyzed in five experiments.
kLinear range determined from a six points reverse calibration curve where the relative error of calulated to nominal concentration did not exceed 20%.
lApproximated concentration in CSF calculated from the ratio in QC samples.